## Summary & Scope
FINE WINE & GOOD SPIRITS - WHITE OAK PA ¦ DEMOLITION BID (DISASSEMBLE DYNAMICS, INC.)
Fine Wine & Good Spirits (PLCB Store #0282) - Oak Park Mall, 2001 Lincoln Way Suite 250, White Oak PA 15131 ¦ GC: Marco Contractors (Calle Barrett, job fw8840) ¦ Axis Architecture D100 (Addendum 1 10/26/26) ¦ PA PREVAILING WAGE (L&I Serial 26-09265) ¦ Proposal DDD-2026/1028R1
PRICE SUMMARY
BASE BID | 25910
Alternate No. 1 - strip paint / remove mastic / grind concrete floor (approx. 4,597 SF) | 9330
Alternate No. 2 - sanitary trench sawcut & slab removal (85 LF) | 3630
SCOPE OF WORK (as written in the proposal)
OUR SCOPE OF WORK (INCLUSIONS)
Remove existing ceiling grid and tile throughout the suite, approx. 4,597 SF (D100 Note 2)
Remove existing light fixtures throughout, approx. 58 EA (D100 Note 2)
Remove existing flooring throughout, approx. 4,597 SF (D100 Note 2)
Remove existing gypsum wallboard at the demising walls, metal studs to remain, approx. 221 LF (Addendum 1, D100 Note 6)
Remove existing interior walls and closet partitions, approx. 30 LF (D100 Note 1)
Remove existing doors, frames and hardware, 2 locations (D100 Note 4)
Remove portion of existing storefront, approx. 14 LF (D100 Note 5)
Remove existing water filtering equipment and associated piping and conduit after disconnect by others (Addendum 1, D100 Note 7)
Remove existing mop sink / plumbing fixture after capping below slab by plumber (D100 Note 3)
Remove abandoned electrical devices, boxes, plates and wiring back to the nearest junction box
Remove TV brackets, fire extinguisher cabinets and miscellaneous equipment; turn over owner items as directed
Provide daily clean up of debris generated by demolition activities; leave demolition areas broom clean
Removal and disposal of all construction debris (C&D) created from this work to an approved landfill accepting this debris per city, county & federal codes & EPA regulations.
Pennsylvania prevailing wage rates per Addendum No. 1 (L&I Serial 26-09265), including certified payroll.
All work conforms to state and local code requirements.
ADDED EXCLUSIONS
Capping plumbing below slab, MEP disconnects and make-safe (Divisions 15 / 16 per Demo Gen. Notes).
Paint stripping, mastic removal and grinding of concrete floor (priced as Alternate No. 1); sealing of concrete.
Sanitary trench sawcut and slab removal (priced as Alternate No. 2); excavation, backfill and concrete patch.
Dust control barriers and mall-side protection / barricades (by GC).
Removal of conduit and wiring beyond the nearest junction box or back to panel / source.
Roof openings for mechanical, plumbing or electrical work.
Patching and repair of walls, floors and ceilings; removal and reinstallation of relocated items.
Removal of metal studs at demising walls (to remain per Addendum 1).

## Inputs
Fine Wine & Good Spirits - White Oak PA ¦ Demolition Estimate Inputs
Blue = editable input. Yellow = assumption to confirm. All costs flow to the Demo Bid tab.
Input | Value | Note
PW Laborer Class 02 base wage ($/hr) | 27.97 | PA L&I Serial 26-09265, Building, eff. 1/1/2026 (Addendum 1 Att. 1) - confirm demo classification
PW Laborer fringe ($/hr) | 20.46 | Same determination - pay as cash or bona fide benefits
Payroll burden on base wage (%) | 22% | FICA 7.65% + FUTA/SUTA + demo work comp - confirm with payroll
Labor rate ($/MH, loaded prevailing wage) | 54.5834 | Replaces the standing $25/MH flat rate on this prevailing wage job
Crew size (men) | 6 | Standing input
Shift length (hrs) | 8 | Day work in mall - after-hours not included
Profit ($ per crew-day) | 1000 | Standing input
Contingency (% of direct) | 5% | Standing input
C&D dumpster 30 yd ($/pull) | 650 | Pittsburgh-area rate not on file - confirm with mall / local hauler
Concrete dumpster 20 yd ($/pull) | 550 | PA rate not on file - confirm
Lodging ($/night, crew house) | 265 | Standing rate; travel job ~950 mi from Lake City
Per diem ($/man/day) | 40 | Standing input
Include lodging & per diem? (1 = yes, 0 = no) | 1 | Set to 0 if a local crew is used
Lodging nights per crew-day | 1.4 | 7 nights per 5 work days
Certified payroll / PW compliance admin ($ LS) | 450 | Weekly certified payrolls, L&I postings

## Demo Bid - DDD
DISASSEMBLE DYNAMICS, INC. - DEMOLITION BID BREAKOUT
Fine Wine & Good Spirits (PLCB Store #0282) - Oak Park Mall, 2001 Lincoln Way Suite 250, White Oak PA 15131 ¦ GC: Marco Contractors (Calle Barrett, job fw8840) ¦ Axis Architecture D100 (Addendum 1 10/26/26) ¦ PA PREVAILING WAGE (L&I Serial 26-09265)
Quantities scaled from Addendum 1 D100 at 1/8" = 1'-0" and A100 area split (4,597 SF) - see markup tabs. Existing ceiling, flooring and lighting types not shown - verify at walk. | [11 empty] | DEMOLITION MARKUP - D100 (ADDENDUM 1)
# | Description | Ref | Qty | Unit | MH / Unit | MH | Labor $ | Equip / Rental $ | Disposal $ | Other $ | Direct $
BASE BID - INTERIOR DEMOLITION (D100 ADDENDUM 1)
D1 | Remove ceiling grid & tile throughout (Note 2) | D100 Note 2; Gen. Notes | 4597 | SF | 0.012 | 55.164 | 3011.0387 | 0 | 0 | 0 | 3011.0387
D2 | Remove light fixtures throughout (approx. 1 per 80 SF) | D100 Note 2 | 58 | EA | 0.5 | 29 | 1582.9186 | 0 | 0 | 0 | 1582.9186
D3 | Remove flooring throughout (assumed carpet / VCT / resilient on slab) | D100 Note 2; A103 | 4597 | SF | 0.01 | 45.97 | 2509.1989 | 0 | 0 | 0 | 2509.1989
D4 | Remove existing gypsum wallboard at demising walls - metal studs to remain (+/-221 LF x ~12') | Add. 1 Note 6 | 2654 | SF | 0.014 | 37.156 | 2028.1008 | 0 | 0 | 0 | 2028.1008
D5 | Remove interior walls / closet partitions (+/-30 LF) | D100 Note 1 | 30 | LF | 0.3 | 9 | 491.2506 | 0 | 0 | 0 | 491.2506
D6 | Remove doors, frames & hardware (2 locations incl. rear pair) | D100 Note 4; A100 door 9 | 2 | EA | 3 | 6 | 327.5004 | 0 | 0 | 0 | 327.5004
D7 | Remove portion of storefront (+/-14 LF) | D100 Note 5 | 14 | LF | 1 | 14 | 764.1676 | 0 | 0 | 0 | 764.1676
D8 | Remove water filtering equipment & associated piping/conduit after disconnect by plumber/electrician | Add. 1 Note 7 | 1 | LS | 6 | 6 | 327.5004 | 0 | 0 | 0 | 327.5004
D9 | Remove mop sink / plumbing fixture after cap below slab by plumber | D100 Note 3 | 1 | EA | 2 | 2 | 109.1668 | 0 | 0 | 0 | 109.1668
D10 | Remove abandoned electrical devices, boxes & wiring back to nearest J-box | Gen. Demo Notes | 4597 | SF | 0.003 | 13.791 | 752.7597 | 0 | 0 | 0 | 752.7597
D11 | Remove misc. equipment - TV brackets, fire extinguisher cabinets, owner items per direction | Gen. Demo Notes | 1 | LS | 6 | 6 | 327.5004 | 0 | 0 | 0 | 327.5004
D12 | Mall load-out via service corridor, protection of items to remain, daily clean & broom clean | Gen. Demo Notes | 1 | LS | 15 | 15 | 818.751 | 0 | 0 | 0 | 818.751
D13 | Ladders / baker scaffold / debris carts | - | 1 | LS | 0 | 0 | 0 | 400 | 0 | 0 | 400
D14 | Consumables - blades, bags, poly, PPE | - | 1 | LS | 0 | 0 | 0 | 0 | 0 | 500 | 500
D15 | Certified payroll / prevailing wage compliance | Addendum 1 | 1 | LS | 0 | 0 | 0 | 0 | 0 | 450 | 450
D16 | C&D disposal - 30 yd dumpsters | Gen. Demo Notes | 4 | PULL | 0 | 0 | 0 | 0 | 2600 | 0 | 2600
| BASE BID - man-hours / crew-days |  |  |  |  | 239.081 | 5
| Direct cost | [9 empty] | 16999.8539
| Lodging & per diem | [9 empty] | 3055
| Contingency | [9 empty] | 849.9927
| Profit ($/crew-day x crew-days) | [9 empty] | 5000
| BASE BID TOTAL | [9 empty] | 25910
ALTERNATE #1 - STRIP PAINT / REMOVE MASTIC / GRIND CONCRETE FLOOR
A1.1 | Strip paint & remove mastic from existing concrete floor to receive new finish (sealer by others) | Gen. Demo Notes; A103 | 4597 | SF | 0.015 | 68.955 | 3763.7983 | 1400 | 0 | 0 | 5163.7983
A1.2 | C&D disposal | - | 1 | PULL | 0 | 0 | 0 | 0 | 650 | 0 | 650
| ALT #1 - man-hours / crew-days |  |  |  |  | 68.955 | 2
| Direct cost | [9 empty] | 5813.7983
| Lodging & per diem | [9 empty] | 1222
| Contingency | [9 empty] | 290.6899
| Profit ($/crew-day x crew-days) | [9 empty] | 2000
| ALT #1 TOTAL | [9 empty] | 9330
ALTERNATE #2 - SANITARY TRENCH SAWCUT & SLAB REMOVAL (85 LF PER ITB)
A2.1 | Sawcut slab both sides of trench (85 LF x 2 sides) | ITB - concrete trench 85 LF | 170 | LF | 0.06 | 10.2 | 556.7507 | 350 | 0 | 0 | 906.7507
A2.2 | Break & remove trench slab (approx. 2' wide) - excavation & pour-back by others | ITB | 170 | SF | 0.05 | 8.5 | 463.9589 | 0 | 0 | 0 | 463.9589
A2.3 | Concrete disposal - 20 yd dumpster | - | 1 | PULL | 0 | 0 | 0 | 0 | 550 | 0 | 550
| ALT #2 - man-hours / crew-days |  |  |  |  | 18.7 | 1
| Direct cost | [9 empty] | 1920.7096
| Lodging & per diem | [9 empty] | 611
| Contingency | [9 empty] | 96.0355
| Profit ($/crew-day x crew-days) | [9 empty] | 1000
| ALT #2 TOTAL | [9 empty] | 3630
DEMOLITION BID SUMMARY
| BASE BID | [5 empty] | 5 |  |  |  | 25910
| ALT #1 | [5 empty] | 2 |  |  |  | 9330
| ALT #2 | [5 empty] | 1 |  |  |  | 3630
| Base bid + all alternates (if accepted) | [9 empty] | 38870
EXPENSE BREAKDOWN BY COST TYPE
| Section | Labor MH | Labor $ | Equipment $ | Disposal $ | Other / Consumables $ | Lodging & Per Diem $ | Contingency $ | Profit $ | Total $
| BASE BID | 239.081 | 13049.8539 | 400 | 2600 | 950 | 3055 | 849.9927 | 5000 | 25910
| ALT #1 | 68.955 | 3763.7983 | 1400 | 650 | 0 | 1222 | 290.6899 | 2000 | 9330
| ALT #2 | 18.7 | 1020.7096 | 350 | 550 | 0 | 611 | 96.0355 | 1000 | 3630
| % of base bid |  | 50.37% | 1.544% | 10.03% | 3.667% | 11.79% | 3.281% | 19.3% | 100%
Note on B7: Existing ceiling type not shown - assumed ACT/grid at ~10-12'. Plaster/spline ceilings per Gen. Note would be extra.
Note on B8: Count not shown - verify at walk
Note on B9: Floor type not shown. Paint stripping / mastic grinding = Alt #1
Note on L28: Rounded up to the next $10
Note on L38: Rounded up to the next $10
Note on L49: Rounded up to the next $10

## Markup - D100 Demo Plan
MARKUP: D100 Demo Plan (full-size PDF: FWGS_White_Oak_Demo_Markup.pdf)

## Markup - D100 Enlarged
MARKUP: D100 Enlarged (full-size PDF: FWGS_White_Oak_Demo_Markup.pdf)